REPLACEMENT  RADIATOR

Material & Surface

Made of cold-rolled sheet steel, in accordance with EN 442-1, with a stylish and robust

fluting with ribs at 40 mm intervals; undercoating in accordance with DIN 55900 part 1, stoved at 190° C; finished with an electrostatic powder coating, in accordance with DIN 55900 part 2, in standard colour 9016; stoved at an object temperature of 210° C.

Equipment

Equipped with wall brackets that are welded onto the back, and with a detachable top cover and two closed side

panels (for types 21 K-S, 22 K and 33 K); the covering complies with the former BAGUV regulations.

Assembly

Disassembling and assembling of the top cover by means of decor-clips (in standard colour 9016); verification of heat

emission in accordance with EN 442; permanent monitoring of production process in accordance with EN-ISO 9001;

a fi t-up aid, made of cardboard, is added; triple-packed (cardboard packaging, edge protection, shrink foil).

Connection

4 x internal thread G 1⁄2“

KONTEC replacement radiator

KONTEC replacement radiators are radiators in pressure-resistance welded design, consisting of 2 or 3 serially arranged and 4 or 8 stacked, water-containing rectangular steel tubes 70 x 11 x 1,5/2 mm.

Normal design:

Rectangular steel tube             70 x 11 x 1,5 mm (max. 5 bar)

High-pressure design:

Rectangular steel tube             70 x 11 x 2,0 mm (max. 8 bar)

There is a 2 mm gap between the heating tubes, ensuring increased corrosion safety. Priming coat with high-quality electrophoretic coating; annealed at 165°C, completely lacquered with electrostatic powder coating according to DIN 55900, part 2, in RAL 9016 (available in many RAL and sanitary colours on request and for an additional charge), annealed at 180°C object temperature.

All KONTEC modernisation radiators come with lateral parts and a top cover. In addition, a bleeding valve and a turnable vent plug are fitted into each KONTEC modernisation radiator ex works. KONTEC modernisation radiators comply with the former BAGUV guidelines; output according to DIN EN 442; packaged three-fold (cardboard, edge protection, shrink film). Connections 4 x G 1/2 I.G. according to customer specifications.

Type:

Construction height [mm]:

Construction length [mm]:

Output [Watt]:

Items:

Pressure [bar]:

Connections:

Colour:

REPLACEMENT DESIGN RADIATOR

Consisting of rounded steel precision heating and collection tubes, connected by way of pressure-resistance welding (no visible weld seams). All tube ends are sealed by way of a special rubbing welding method, available as standard model. Max. excess operating pressure 10 bar, excess test pressure 13 bar, max. operating temperature: 110°C, heat output according to DIN EN 442, comes with blind plug and vent plug as well as wall fastening set in the relevant colour of the radiator, with horizontal and vertical radiator alignment options, wet room-proof 2-layer lacquering according to DIN 55900, primed with electrophoretic coating, using water-soluble lacquers; completely lacquered with electrostatic powder coating. Installation option for PTC electric heating element.

Coating: Standard design – RAL 9016 (traffic white) various RAL, sanitary and metallic tones according to the colour chart; special colours

Product families:

BAWA

Design height: 1196, 1756 mm,

Design length: 500 and 600 mm

Construction depth (incl. wall clearance):

Without spacer ring 97 - 109

With 1 spacer ring set 109 - 121

With 2 spacer ring sets 121 - 133

With 3 spacer ring sets 133 - 145

For hub spacing: 500, 900, 1000, 446, 546, 846, 946, 560 and 960 mm

Connections: 2 x G 1/2 I.G. bottom, 2 x G 1/2 I.G. lateral, left or right and 1 x G 1/4 I.G. for vent plugs

BAWA-T

Design height: 1194, 1.754 mm,

Design length: 500 and 600 mm

Construction depth (incl. wall clearance):

Without spacer ring 113 - 125

With 1 spacer ring set 125 - 137

With 2 spacer ring sets 137 - 149

With 3 spacer ring sets 149 - 161

For hub spacing: 500, 900, 1000, 446, 546, 846, 946, 560 and 960 mm

Connections: 2 x G 1/2 I.G. bottom, 2 x G 1/2 I.G. lateral, left or right and 2 x G 1/2 I.G. top